Made with Glitter AI — turn any process into a video SOP in minutes. Try free at glitter.io →

# Preventive Maintenance Checklist

A reusable, asset-by-asset preventive maintenance checklist for [Company Name], facility/site [Location]. Assign an owner, set the frequency, and check off each task as it is completed.

## Table of Contents

1. How to Use This Checklist

2. HVAC and Air Handling

3. Electrical Systems

4. Mechanical and Production Equipment

5. Fleet and Powered Vehicles

6. Building and Facility

7. Safety and Life Systems

8. IT and Infrastructure

9. After Every PM Round

## 1. How to Use This Checklist

Work through each asset group below on the frequency listed. Assign a single named owner to every task, log the completion date, and note any issue found so it can be turned into a work order.

Tip: The fastest way to make this stick is to record each PM task once as a step-by-step guide so any technician can follow it the same way, on schedule, even when the person who normally does it is out.

## 2. HVAC and Air Handling

| Task | Frequency | Owner | Done |
| --- | --- | --- | --- |
| Inspect and replace air filters | Monthly | [ Owner ] | [ ] |
| Check thermostat calibration and setpoints | Monthly | [ Owner ] | [ ] |
| Clean condenser and evaporator coils | Quarterly | [ Owner ] | [ ] |
| Inspect belts and pulleys for wear and tension | Quarterly | [ Owner ] | [ ] |
| Lubricate motor and fan bearings | Quarterly | [ Owner ] | [ ] |
| Check refrigerant charge and inspect for leaks | Semi-annual | [ Owner ] | [ ] |
| Clear and flush condensate drain lines | Semi-annual | [ Owner ] | [ ] |
| Test economizer operation and dampers | Annual | [ Owner ] | [ ] |
| Full system performance and airflow test | Annual | [ Owner ] | [ ] |

## 3. Electrical Systems

| Task | Frequency | Owner | Done |
| --- | --- | --- | --- |
| Visual inspection of panels for heat, corrosion, or arcing | Monthly | [ Owner ] | [ ] |
| Test emergency and exit lighting | Monthly | [ Owner ] | [ ] |
| Check and tighten panel and breaker connections | Quarterly | [ Owner ] | [ ] |
| Thermographic (infrared) scan of panels and connections | Annual | [ Owner ] | [ ] |
| Test ground fault and breaker trip functions | Annual | [ Owner ] | [ ] |
| Inspect and exercise backup generator and transfer switch | Monthly | [ Owner ] | [ ] |
| Load-bank test the backup generator | Annual | [ Owner ] | [ ] |

## 4. Mechanical and Production Equipment

Note: Always follow lockout/tagout (LOTO) procedures before any inspection or service on powered equipment.

| Task | Frequency | Owner | Done |
| --- | --- | --- | --- |
| Walkaround inspection for leaks, noise, and vibration | Daily | [ Owner ] | [ ] |
| Check fluid and lubricant levels | Daily | [ Owner ] | [ ] |
| Clean equipment and clear debris | Weekly | [ Owner ] | [ ] |
| Inspect guards, sensors, and safety interlocks | Weekly | [ Owner ] | [ ] |
| Lubricate per the manufacturer schedule | Monthly | [ Owner ] | [ ] |
| Inspect belts, chains, couplings, and alignment | Monthly | [ Owner ] | [ ] |
| Calibrate gauges, sensors, and controls | Quarterly | [ Owner ] | [ ] |
| Replace wear parts per manufacturer interval | Semi-annual | [ Owner ] | [ ] |
| Vibration analysis on critical rotating equipment | Quarterly | [ Owner ] | [ ] |
| Full teardown inspection and overhaul assessment | Annual | [ Owner ] | [ ] |

## 5. Fleet and Powered Vehicles

| Task | Frequency | Owner | Done |
| --- | --- | --- | --- |
| Pre-use inspection: tires, fluids, lights, brakes | Daily | [ Owner ] | [ ] |
| Check battery, charge level, and connections | Weekly | [ Owner ] | [ ] |
| Engine oil and filter change | Per hours/miles | [ Owner ] | [ ] |
| Inspect brakes, hydraulics, and steering | Monthly | [ Owner ] | [ ] |
| Rotate tires and check tread and pressure | Quarterly | [ Owner ] | [ ] |
| Inspect forks, masts, and lift mechanisms | Quarterly | [ Owner ] | [ ] |
| Annual safety and emissions inspection | Annual | [ Owner ] | [ ] |

## 6. Building and Facility

| Task | Frequency | Owner | Done |
| --- | --- | --- | --- |
| Inspect roof, gutters, and drains for debris and damage | Quarterly | [ Owner ] | [ ] |
| Check doors, dock levelers, and overhead doors | Monthly | [ Owner ] | [ ] |
| Inspect plumbing for leaks and water heater function | Quarterly | [ Owner ] | [ ] |
| Test sump pumps and check for water intrusion | Quarterly | [ Owner ] | [ ] |
| Inspect exterior lighting, signage, and parking surfaces | Quarterly | [ Owner ] | [ ] |
| Seal, caulk, and weatherproofing inspection | Semi-annual | [ Owner ] | [ ] |
| Pest control inspection | Quarterly | [ Owner ] | [ ] |

## 7. Safety and Life Systems

Warning: Life-safety inspections often carry legal and code requirements. Confirm the frequency and documentation rules for your jurisdiction.

| Task | Frequency | Owner | Done |
| --- | --- | --- | --- |
| Inspect fire extinguishers (pressure, seal, access) | Monthly | [ Owner ] | [ ] |
| Test smoke and CO detectors | Monthly | [ Owner ] | [ ] |
| Test fire alarm and pull stations | Quarterly | [ Owner ] | [ ] |
| Inspect sprinkler system and control valves | Quarterly | [ Owner ] | [ ] |
| Inspect eyewash stations and safety showers | Monthly | [ Owner ] | [ ] |
| Check first aid kits and emergency equipment | Monthly | [ Owner ] | [ ] |
| Full fire suppression system certification | Annual | [ Owner ] | [ ] |

## 8. IT and Infrastructure

| Task | Frequency | Owner | Done |
| --- | --- | --- | --- |
| Verify backups completed and test a restore | Weekly | [ Owner ] | [ ] |
| Check server room temperature and humidity | Weekly | [ Owner ] | [ ] |
| Test UPS battery and runtime | Monthly | [ Owner ] | [ ] |
| Apply firmware and security patches | Monthly | [ Owner ] | [ ] |
| Clean and inspect cooling and airflow in racks | Quarterly | [ Owner ] | [ ] |
| Review capacity, storage, and network health | Quarterly | [ Owner ] | [ ] |
| Full disaster recovery failover test | Annual | [ Owner ] | [ ] |

## 9. After Every PM Round

- Log the completion date and the technician who performed each task.

- Open a corrective work order for any issue found, do not just note it.

- Record parts and consumables used so inventory stays accurate.

- Update the schedule and asset history so the next round is on time.

Company: [Company Name]

Facility / Site: [Location]

Asset / Equipment ID: [Asset ID]

Schedule Period: [MM/DD/YYYY] to [MM/DD/YYYY]

Prepared by: [Name and Title]

Reviewed by: [Name and Title]

Date Completed: [MM/DD/YYYY]